## Sheet1
DECam EXPOSURE TIME CALCULATOR (ETC) VER 7A
History
December 10 2008 | Written by Daren DePoy
January 26 2012 | QE, filter responses updated, prettified by Alistair Walker
Apr 8 2013 | Table of preliminary values of sky brightness as a function of lunar phase provided
April 13 2013 | Added in Read noise, split exposures, correct u band throughput
September 30 2013 | Ver 4: Corrected effective mirror area from 10.6 m2 to 9.7m2 and set vignetting to zero (factor 1.00, was 0.97)
September 1 2014 | Ver 5: Corrected the aperture used to follow the true profile (sech^2) rather than a guassian. This changed the constant from 1.34 to 2.04
March 1 2015 | Ver 6: Revised QE from the definitive paper, and real-world relectivity of M1, u center wavelength changed to 375 nm from 355 nm
Feb 18 2016 | Ver 7. Corrected error in signal/noise due to read noise, revised the value of the RON from 10 to 7 electrons rms
March 8 2016 | Ver 7: review by Alfredo Zenteno. No code errors found, but corrections made to units in column H
Instructions | [9 empty] | 9.6163
(i) Change exposure time and/or object magnitude, high-lighted with YELLOW background | [9 empty] | 0.2826
(ii) Choose your lunar phase and enter the sky brightness magnitude - sorry we'll make this smoother soon
(iii) Read on last line the S/N of that brightness in that exposure time, highlighted with BLUE background
filter | DECam u | DECam g | DECam r | DECam r/fast | DECam i | DECam z | DECam Y
exposure time | 2 | 8 | 2 | 2 | 2 | 2 | 2 | sec
sky (see table below) | 22.8 | 22.1 | 21.1 | 21.1 | 20.1 | 18.7 | 18 | mag (AB) arcsec^-2
bandpass | 50 | 147 | 141 | 141 | 147 | 147 | 50 | nm; defined as wavelength difference of 90% transmission points of filter
bandpass | 107068735000000 | 201414494177331 | 104965177541270 | 104965177541270 | 73942347668952 | 52115992031731 | 15150215180918 | Hz
cwl | 375 | 473.5 | 638.5 | 638.5 | 775.5 | 922.5 | 995 | nm; assume flat spectrum source and flat filter U adjusted ver 6, effectively cwl ia around 375 nm
hc/lambda | 0 | 0 | 0 | 0 | 0 | 0 | 0 | joules/photon
0 mag | 7339004064 | 17432267926 | 12250373644 | 12250373644 | 10481374203 | 8787808263 | 2755402644 | photon/sec/m^2
0 mag | 146780081272 | 118586856643 | 86882082579 | 86882082579 | 71301865325 | 59781008593 | 55108052884 | phot/sec/m^2/micron
sky surface brightness | 0 | 0 | 0 | 0 | 0 | 0 | 0 | joules/sec/m^2/micron/arcsec^2
sky surface brightness | 2.5094e-06 | 3.0595e-06 | 4.1755e-06 | 4.1755e-06 | 7.0868e-06 | 1.8136e-05 | 2.9534e-05 | W/m^2/micron/sr
sky surface brightness | 2.5094e-10 | 3.0595e-10 | 4.1755e-10 | 4.1755e-10 | 7.0868e-10 | 1.8136e-09 | 2.9534e-09 | W/cm^2/micron/sr
telescope area | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | m^2. Was incorrect (10.6 m2) |  | (9.7 fpr DECam)
0 mag | 4256622357 | 40442861589 | 7105216713 | 7105216713 | 6079197038 | 5096928793 | 1598133534 | photons
CCD qe | 0.25 | 0.59 | 0.75 | 0.75 | 0.85 | 0.85 | 0.5 | electrons/photon, Revised for ver 6, from ESTRADA et al SPIE 7735, 2010
filter | 0.95 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | average over "bandpass"
corrector optics | 0.75 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.75
telescope primary | 0.89 | 0.89 | 0.88 | 0.88 | 0.87 | 0.88 | 0.9 | Real measurements, not fresh aluminum
vignetting | 1 | 1 | 1 | 1 | 1 | 1 | 1
atmosphere | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.9 | 0.95
total throughput | 0.11097 | 0.32514 | 0.45976 | 0.45976 | 0.51514 | 0.52106 | 0.28856 | electrons/photon
Signal from 0 mag source | 472365364.1 | 13149669667 | 3266666015 | 3266666015 | 3131611421 | 2655789407 | 461161407.8 | electrons
Signal from 20 mag source | 4.7237 | 131.4967 | 32.6667 | 32.6667 | 31.3161 | 26.5579 | 4.6116 | electrons
Signal from specified source | 4.7237 | 131.4967 | 32.6667 | 32.6667 | 31.3161 | 26.5579 | 4.6116 | electrons
seeing | 2.2955 | 2 | 1 | 1 | 0.96187 | 0.92905 | 0.9151 | specify DES r seeing; guess at change in seeing with wavelength
aperture (=2.04*seeing) | 17.2228 | 13.074 | 3.2685 | 3.2685 | 3.024 | 2.8212 | 2.7371 | arcsec^2; assumes sech^2 PSF with FWHM = seeing -
sky per pixel | 0.01075 | 0.57021 | 0.35582 | 0.35582 | 0.85682 | 2.6382 | 0.87292 | sky background per pixel, including all rows
sky signal | 6.1714 | 248.499 | 38.7663 | 38.7663 | 86.3673 | 248.0969 | 79.6412 | electrons | for the fast read, I assume the added sky noise of N lines
Readout noise | 7 | 7 | 7 | 7 | 7 | 7 | 7 | electrons/pixel |  | 1
RON squared per aperture | 412.6944 | 313.2808 | 78.3202 | 78.3202 | 72.4612 | 67.6008 | 65.5857 | electrons^2/pixel^2
Number of reads | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Split exposures? Only significant if RON dominates sky
brightness (AB mag) | "-----------------------------------S/N in time entered in line 22--------------------------------------"
20 | 0.22951 | 4.9942 | 2.6694 | 2.6694 | 2.271 | 1.4356 | 0.37674
6.2263
PRELIMINARY SKY BRIGHTNESS TABLE FOR DECam - caveat > 50 deg from the bright Moon
MOON days from NEW | u | g | r | r | i | z | Y
0 | 22.8 | 22.05 | 21.05 | 21.05 | 20.1 | 18.7 | 18
3 | 22.3 | 21.8 | 20.9 | 20.9 | 20.1 | 18.7 | 18
7 | 20.7 | 21.2 | 20.6 | 20.6 | 19.9 | 18.6 | 18
10 | 19.2 | 20.4 | 20.2 | 20.2 | 19.7 | 18.5 | 17.9
14 | 17.7 | 19.4 | 19.7 | 19.7 | 19.4 | 18.2 | 17.7
mags(AB) per arcsec^2